## Slide 1: Practical Rules for noise calculations
B
flicker noise
broadband
noise
total noise
signal frequency band
f
fmin
fk
fmax
SX-BB
SX
Idealized amplifier noise density
Typically first order decay
B=equivalent noise bandwidth
Definition of flicker corner frequency
PSD: Power Spectral Density
Noise PSD in Low-Pass Systems

## Slide 2: Amplifier noise spectrum in logarithmic axes
for any f0 in the region where
flicker noise dominates
f0
If the noise cut off is determined by a first order low-pass function:

## Slide 3: Total rms noise in the signal bandwidth
Broad-band
Flicker
ndec =number of decades from fmin to fmax

## Slide 4: Flicker noise for signal bands that include dc
If fmin =0, the integral is infinity
Many signals of interest include dc. This is true for practically most signals produced by sensors like temperature, pressure, acceleration etc.
The solution to this paradox is that, in practical cases, speaking of a real dc component is meaningless, since it would be constant across an infinite interval of time.
For every practical scenario, there is always a finite “observation time period”, across which we require a signal to be constant to state that this is a dc component.
For these cases, do we have infinite noise magnitude
?

## Slide 5: Flicker noise for signal bands that include dc
Then, we use the flicker noise expression:
with
Where Tobs is the "observation time".
If the signal band includes dc, we generally set Tobs = 10s-100s, resulting in fmin= 0.1-0.01 Hz.

## Slide 6: Example
Specifications: fmax=1kHz, fmin=0 (dc)
For Tobs=100 s, fmin=0.01 Hz
ndec=5
For Tobs=105 s (> 1 day) s, fmin=10 mHz
ndec=8
The flicker component to <(xn)2>
is increased by 60% and the rms component by 26%
In terms of resolution, this is quite a negligible increase. To have an increase of 1 unit in the ENOB associated to the DR we need an increase of 100 % in xrms , i.e. a factor of 4 in <(xn)2> . The presence of a significant contribution from SXBB makes this flicker increment even less important.
The choice of Tobs (fmin) is not critical !

## Slide 7: Something more about the broad-band component
SXBB has units [X]2/Hz where [X] are the units of quantity X.
For example if X is a voltage, we have V2/Hz
This is not the specification that is generally used in practical cases
(e.g. amplifier datasheets).
What is generally given, is the square root of the PSD:
Units:

## Slide 8: Example
or nV/sqrt(Hz)
«noise density»
(instead of :
noise power spectral density)

## Slide 9: Practical rms noise calculation:
It is sufficient that one of the two contribution is 5 times smaller than
the other to get practically negligible (with a 2 % error)

## Slide 10: Example
> Xpp-F over two
decades
Includes both flicker and BB noise

## Slide 11: Schematic two-sided representation of amplifier noise
Total additive error: offset + noise
xio is a stationary, non-ergodic
stochastic process.
Noise and offset are independent
processes
Generalized spectrum that represents noise and offset together

## Slide 12: Modulation of a stochastic process
Stationary
stochastic process
(e.g. noise)
Modulating signal (e.g. local oscillator)
Modulated
process
If ym is a periodic
deterministic signal,
Z(t) is generally no more a
stationary process
The auto-correlation function
is no more a simple function of
the delay t and a PSD cannot be
calculated
We can consider ym a stochastic process by adding some randomness. It is sufficient to introduce a random delay to make z(t) stationary. Or we can refer to the formalism of cyclostationary processes
But ...

## Slide 13: Modulation of stochastic processes
Complex Fourier series representation of the modulating signal ym(t)

## Slide 14: Discrete-time (DT) and continuous-time (CT) signals
CT signal
…. and their Fourier transform
Even band-limited signals have a Fourier transform that extends to infinity
DT signal

## Slide 15: DT signals from sampling of CT signals
Place a replica of the original spectrum across each multiple of fS
Add the replicas only across the DT frequency interval

## Slide 16: CT signals from DT ones
Reconstruction with delta functions d(t)
Hold - reconstruction
For our purposes, we are interested in:
Replicas are multiplied by

## Slide 17: DT-CT reconstruction with an arbitrary pulse
Theoretical (non real) process
replicate and multiply by 1/T
multiply by H(f)
H(f)
H(f)

## Slide 18: Hold reconstruction
Reconstruction pulse
Multiply by
It is the simpler way to convert a digital signal (data sequence) into an analog one by means of a DAC

## Slide 19: Hold - reconstruction: summary
Start from the discrete time fourier transform
Replicate the spectrum (non scaled) across any multiple of fs
1
Multiply by:

## Slide 20: Sampling and holding a stochastic process
The procedure is similar to the case of a deterministic signal but for a stochastic process it is the PSD to be involved
PSD of the CT stochastic process
The PSD is replicated and
the replicas are
added
Only the spectrum in the –fS/2, +fS/2
interval is retained

## Slide 21: Reconstruction by hold-operation
1
PSD of the DT stochastic process
Replicate with fs step
multiply by