## Slide 1
Instrumentation Amplifiers: characteristics
By definition:
Precise gain
High input resistance
Differential input
Other important features
Low input referred offset voltage
Low bias currents
Low input referred voltage and current noise
High CMRR
Large bandwidth

## Slide 2
Instrumentation Amplifiers: connection to the source
Balanced case (RS1=RS2=RS)

## Slide 3
Offset: vn=vio, iB1-iB2=IB1-IB2=Iio
Noise: vn and in1, in2 are represented by their PSD
(power spectral density)
cross-spectrum
If ib1 and ib2 are uncorrelated and their PSD is SI:

## Slide 4
Monolithic In-Amps
Typical pin configuration
Function of the SENSE terminal

## Slide 5
Input and output offset / noise
Typical two-stage architecture of In-amps
Generally, A2= 1, thus:

## Slide 6
Three-opamp instrumentation amplifier
The circuit that provides VREF must have a very low output resistance (<<R)
Mismatch of these resistors degrades the CMRR of the second stage. Resistor trimming is necessary for CMRRs > 60 dB

## Slide 7
Instrumentation Amplifiers
AD 620
At G≥100 the
amplifier BW is
larger than 100kHz.
The noise density
starts to fall for
f> 100kHz
The RTI noise
decreases with G

## Slide 8
AD 620
Nearly constant GBW product: BW determined by first stage
GBW does not increase much beyond the G=10 case: BW affected by second stage
Output noise >> input noise
Broad-Band Noise: √SBB
Low Frequency Noise
Integrated over 0.1-10 Hz
Broad-Band Noise: √SBB
Low Frequency Noise
Integrated over 0.1-10 Hz
Current
Slew -Rate
Settling times

## Slide 9
AD 620
Input offset
Output offset
The effective input referred offset (RTI)
is a combination of the input and output offset
Such a small offset voltage and offset drift is
the result of a laser-trimmed resistor-load
BJT input pair
The input bias current and input offset current are similar, since
such a small bias current is the result of internal bias current cancellation
The AD 620 in-amp represent a good trade-off between input noise voltage, input bias currents and supply current (quiescent current)

## Slide 10
AD 8429
The AD8429 has a much smaller input referred noise than the AD620
(BB-noise) ……..
..... but its input current noise is much larger..

## Slide 11
AD 8429
The bias current (dc value) is also much larger than AD620 one
The AD8429 is faster than the AD620
…. but it requires much more quiescent current

## Slide 12
Instrumentation Amplifiers
The INA333 is a very low-power instrumentation amplifier
(Isupply: 50 mA)
As a result, its input referred voltage noise is larger and its bandwidth smaller.

## Slide 13
INA 333
Very low input bias current
Small bandwidths
Large noise density
AD620 was 9 nV/√Hz

## Slide 14
INA 111: J-Fet input
Note the presence of a
sense (Feedback) terminal in
the 16 pin case
Offset is considerably worse than
AD620 which has a BJT input stage

## Slide 15
INA 111
…. but the (integrated) low-frequency
voltage noise is much worse (was 0.28 mV) in
the AD 620
The broad-band input referred noise density
is similar to AD 620 …..
The strong advantage of a JFET input is the
negligible noise current density

## Slide 16
The LTC 1100 uses an Autozero
technique to cancel the input offset and
flicker noise.
The side-effect is foldover, resulting in an
increased low-frequency noise density.