## Slide 1: An interface for capacitive sensors based on the SC charge amplifier
Rdc
Iin
Vout
Invented by Walter Kistler in 1950
It is based on the Miller Integrator
Charge fed to the amplifier from t1 to t2
This value is an uncertainty and may also cause saturation of the amplifier
The classical solution consists in placing a resistor of very high resistance (Rdc) in parallel with the capacitor
Unfortunately, this resistor also discharge the charge accumulated across C, imposing condition: t2-t1 << RdcC
Charge amplifier

## Slide 2: A Switched Capacitor (SC) charge amplifier
Ideal case
Real case
Note: vn(t) includes the offset voltage, which can be quite large in CMOS circuits
+
-

## Slide 3: SC charge amplifier with offset cancellation
All vn components (offset, low freq. noise) that do not change across the t1,t2 interval are cancelled
Two noise samples are subtracted:
This is the correlated double sampling (CDS)
The feedback capacitor is pre-charged with -vn(t)

## Slide 4: SC interface for capacitive sensors
f1
f2
possible implementation

## Slide 5: Phase 1: Capacitor voltages

## Slide 6: Transition to phase 2
In SC circuits, timing of the switches is critical, due to the risk to alter the charge stored into the capacitors
S2
S1
S2 opens and
C2 samples
If S1 is still closed in the previous position (phase 1), when S2 closes to phase 2 position, C2 is short circuited

## Slide 7: The intermediate phase "i"
In order to avoid the occurrence of unwanted temporary short-circuits the transition from phase 1 to phase 2 occurs according the following steps:
Switches are closed
in position 1
All switches opens
(capacitors sample their voltages)
Switches close
in position 2
phase 1
phase "i"
phase 2
kT/C noise

## Slide 8: Phase 1 to phase 2 transition
DQX
DQR
DQ2

## Slide 9: Phase 2 voltages

## Slide 10: Phase 2 output voltage

## Slide 11: Output voltage components
useful signal
sensitivity:
Amplifier noise (CDS)
kT/C noise
Referred to the input diff. capacitance

## Slide 12: Example: DR of the SC interface considering only kT/C noise

## Slide 13: Example: DR of the SC interface considering only kT/C noise
rms value of the kT/C noise associated to DCFS